FIRE PREVENTION AND FIGHTING DESIGN APPROVAL CERTIFICATE

### GENERAL INFORMATION

- Issuing Authority: Department of Public Security of Dak Nong Province, Fire Fighting and Prevention Police Division.

- Certificate Number: 76 TD-PCCC.

- Date of Issuance: December 31, 2008.

- Legal Basis:

  - Law on Fire Prevention and Fighting dated June 29, 2001.

  - Decree No. 35/2003/ND-CP dated April 04, 2003.

  - Circular No. 04/2004/TT-BCA dated March 31, 2004.

- Applicant: Dak Glun Hydropower Joint Stock Company.

- Representative: Mr. Nguyen Duc Tuyen, General Director.

### CERTIFICATION DETAILS

- Project Name: Dak Glun 2 and 3 Hydropower Plants.

- Location: Tuy Duc District, Dak Nong Province.

- Investor: Dak Glun Hydropower Joint Stock Company.

- Design Consultant: Dai An Construction Consulting Co., Ltd.

Approved Fire Prevention and Fighting (PCCC) Contents:

- Production category and fire resistance rating.

- Lighting electrical system.

- Fire safety distances and exit routes.

- Local firefighting equipment.

- Fixed firefighting system and automatic fire alarm system.

- Direct lightning protection system.

Additional Requirements:

- Smoke detectors must be installed on the roof.

- All firefighting equipment must be inspected and verified for specifications and quality by the Dak Nong Fire Police prior to installation.

- The required height of the concentrated water jet must be $\ge$ 6m.

SUMMARY OF PROJECT COST ESTIMATES

Project: Dak Glun Hydropower Plant Item: Hydropower Plant

| Item | Cost Description | Value (Excl. VAT) | VAT (10%) | Total Value (Incl. VAT) |
| --- | --- | --- | --- | --- |
| I | Dak Glun 2 Hydropower |  |  |  |
| 1 | Temporary management house costs | 18,266,571 | 1,826,657 | 20,093,228 |
| 2 | Factory construction costs | 3,653,314,131 | 365,331,413 | 4,018,645,544 |
| 3 | Equipment costs | 10,657,636,364 | 1,065,763,636 | 11,723,400,000 |
|  | Total (I) | 14,329,217,066 | 1,432,921,706 | 15,762,138,772 |
| II | Dak Glun 3 Hydropower |  |  |  |
| 1 | Temporary management house costs | 18,266,571 | 1,826,657 | 20,093,228 |
| 2 | Factory construction costs | 3,653,314,131 | 365,331,413 | 4,018,645,544 |
| 3 | Equipment costs | 19,402,363,638 | 1,940,236,364 | 21,342,600,002 |
|  | Total (II) | 23,073,944,340 | 2,307,394,434 | 25,381,338,774 |
|  | GRAND TOTAL (I+II) | 37,403,161,406 | 3,740,316,140 | 41,143,477,546 |

Signed and Sealed:

General Director: Nguyen Duc Tuyen Date: December 25, 2008