DECISION

Approving the planning adjustment of the Đắk Glun 3 hydropower project, Đắk Nông province

THE MINISTER OF INDUSTRY AND TRADE

- Pursuant to the Law on Construction;

- Pursuant to Resolution No. 751/2019/UBTVQH14 dated August 16, 2019, of the National Assembly Standing Committee interpreting several articles of the Law on Planning;

- Pursuant to Resolution No. 110/NQ-CP dated December 2, 2019, of the Government on the issuance of the List of plans to be integrated into national, regional, and provincial planning according to the provisions of Point c, Clause 1, Article 59 of the Law on Planning;

- Pursuant to Decree No. 15/2021/ND-CP dated March 3, 2021, of the Government detailing several contents of construction investment project management;

- Pursuant to Decree No. 98/2017/ND-CP dated August 18, 2017, of the Government defining the functions, tasks, powers, and organizational structure of the Ministry of Industry and Trade;

- Pursuant to Decision No. 329/QD-BCT dated January 22, 2020, of the Minister of Industry and Trade on principles and order for implementing planning adjustments and additions for power projects;

- Pursuant to Circular No. 43/2012/TT-BCT dated December 27, 2012, of the Ministry of Industry and Trade providing regulations on the management of planning, construction investment, and operation of hydropower projects;

- Considering the proposal of Đắk Glun Hydropower Joint Stock Company in Document No. 50/2021/CV dated March 25, 2021, regarding the request for planning adjustment of the Đắk Glun 3 hydropower project, Tuy Duc district, Đắk Nông province;

- Based on the Planning Adjustment Report for the Đắk Glun 3 Hydropower Project prepared by the Institute of Engineering Projects - Thuyloi University in February 2021;

- At the proposal of the Director General of the Electricity and Renewable Energy Authority.

DECIDES:

Article 1. Approve the planning adjustment of the Đắk Glun 3 Hydropower Project (previously approved by the People's Committee of Đắk Nông Province in Decision No. 571/QD-UBND dated April 30, 2008) with the following main contents:

- Construction location: On the Đắk Glun stream (a level I tributary of the Be River), located in Đắk Ngo and Quang Tam communes, Tuy Duc district, Đắk Nông province.

  - Main dam axis coordinates: $107^{\circ}23'10''$ East Longitude - $12^{\circ}06'35''$ North Latitude.

  - Auxiliary dam axis coordinates: $107^{\circ}22'48.6''$ East Longitude - $12^{\circ}07'48''$ North Latitude.

  - Powerhouse coordinates: $107^{\circ}20'47''$ East Longitude - $12^{\circ}05'33''$ North Latitude.

- Mission and exploitation scheme of the Project:

  - Main mission: Generate electricity for the national power grid.

  - Exploitation scheme: Includes a main water storage dam combined with a spillway on the Đắk Glun stream; an auxiliary dam on the Đắk K'long stream to supplement water to the energy line via canals and pipelines; a conduit-type energy line (conveyance canal and penstock) on the right bank of the Đắk Glun stream; and an open-type powerhouse discharging water back into the Đắk Glun stream.

Main Technical Parameters of the project before and after adjustment:

| No. | Parameter | Unit | Approved (Decision 571/QD-UBND 30/4/2008) | Adjusted per this Decision |
| --- | --- | --- | --- | --- |
| 1 | Total catchment area ($F_{lv}$) | $km^2$ |  | 86.0 |
|  | - Main dam catchment area ($F_{lvdc}$) | $km^2$ |  | 70.6 |
|  | - Auxiliary dam catchment area ($F_{lvdp}$) | $km^2$ |  | 15.4 |
| 2 | Normal water level - main dam (MNDBTdc) | m |  | 500 |
| 3 | Normal water level - auxiliary dam (MNDBTdp) | m |  | 605 |
| 4 | Minimum tailwater level (MNHLmin) | m |  | 397.46 |
| 5 | Installed capacity ($N_{lm}$) | MW | 6.5 | 7.1 |
| 6 | Average annual energy output ($E_0$) | $10^6$ kWh |  | 24.6 |

Article 2. Following the planning adjustment, the Đắk Glun 3 Hydropower Project belongs to the National Small Hydropower Planning in Đắk Nông province and will be integrated into the National Power Development Plan (National sectoral planning). The construction investment must ensure compliance with planning and plans regarding socio-economic development, land use, resource use, and power development. Ensure compliance with current regulations on construction, water resources, forest protection and development, and other relevant regulations.

Article 3. During the investment research and construction phase of the Đắk Glun 3 Hydropower Project, the Đắk Nông Provincial People's Committee shall direct the Investor, the Consultant, and relevant agencies to:

- Update the adjusted parameters of the Project, organize the appraisal, and approve the Basic Design as regulated;

- Accurately determine the land use area for various types of the Project to perform land use purpose conversion in accordance with current laws and guidance/directives from competent authorities;

- Thoroughly assess and fully implement measures to mitigate environmental and social impacts of the project; Ensure the maintenance of minimum downstream flow;

- During the investment, construction, and operation of the hydropower plant, ensure no impact on public works, historical/cultural relics, and other relevant planning approved by competent authorities;

- Fully implement construction quality management regulations according to the Law on Construction, Government Decrees, and Circulars of the Ministry of Construction.

Article 4. Implementation progress: The project is to be put into operation during the 2021–2025 period and must be consistent with the progress of the regional transmission grid construction.

Article 5. This Decision takes effect from the date of signing and replaces the planning contents for the Đắk Glun 3 hydropower project in Decision No. 571/QD-UBND dated April 30, 2008, of the Đắk Nông Provincial People's Committee.

Article 6. The Chief of the Ministry Office, Director General of the Electricity and Renewable Energy Authority, Chairman of the Đắk Nông Provincial People's Committee, Director of the Đắk Nông Department of Industry and Trade, General Director of Vietnam Electricity, the project Investor, and heads of relevant units are responsible for implementing this Decision.

Recipients:

- As per Article 6;

- Minister (for reporting);

- Archives: VT, DL (Thanhdtr).

FOR THE MINISTER

DEPUTY MINISTER

(Signed and Stamped)

Dang Hoang An