## APPLICATION FOR INVESTMENT CERTIFICATE

Project: Đắk Glun 2 Hydropower Plant

To: * People's Committee of Đắk Nông Province

- Department of Planning and Investment of Đắk Nông Province

### 1. Investor Information

- Company Name: Đắk Glun Hydropower Joint Stock Company

- Address: Group 9, Hung Vuong Street, Nghia Thanh Ward, Gia Nghia Town, Đắk Nông

- Tax Code: 6400044933

- Legal Representative: Mr. Nguyễn Đức Tuyên – General Director

- ID Card No: 240281369 issued by Đắk Lắk Provincial Police on March 14, 2001

### 2. Project Details

- Project Name: Đắk Glun 2 Hydropower Plant

- Location: Quảng Tâm Commune, Tuy Đức District, Đắk Nông Province

- Total Land Area: 43.87 ha (Implementation area: 29.68 ha)

- Goal/Capacity: Construction of a hydropower plant with a capacity of 3.9 MW

- Investment Capital: 102,394,928,000 VND

  - Equity: 30,718,478,000 VND

  - Loans: 71,676,450,000 VND

- Project Duration: 50 years

- Schedule: 2 years (Commencement: 2010; Completion: 2011)

## REQUEST FOR ADJUSTMENT OF INVESTMENT CERTIFICATE

(Applied on November 25, 2011)

The company requested the following adjustments to Investment Certificate No. 63121000060 (issued Dec 22, 2009):

| Items | Initial Content (2009) | Proposed Adjustment (2011) |
| --- | --- | --- |
| Location | Quảng Tâm Commune, Tuy Đức District | Quảng Tâm and Đắk Ngo Communes, Tuy Đức |
| Total Area | 43.87 ha | 43.60 ha (including material mines) |
| Project Area | 29.68 ha | 24.90 ha |
| Total Capital | 102.39 billion VND | 122.87 billion VND |
| Schedule | Start: 2010 - End: 2011 | Start: 2012 - End: 2014 |

## DECISION APPROVING THE INVESTMENT PROJECT

Decision No: 27/QĐ-CT (Dated Nov 25, 2009)

Approved Technical Specifications:

- Basin Area: 51.82 $Km^{2}$

- Dam Type: Gravity concrete dam

- Max Dam Height: 19 m

- Spillway Type: Ophisêrốp

- Penstock Length: 780 m

- Installed Capacity: 3.90 MW

- Units: 3 units (Francis horizontal turbine, Model HL90-WJ-84)

- Power Grid: 22KV single/double circuit

Economic and Financial Indicators:

- Financial Internal Rate of Return (FIRR): 14.21%

- Financial Payback Period: 16.6 years

- Economic Internal Rate of Return (EIRR): 11.17%